**Mandatory Public Notification Language**

**Notice of Drinking Water Treatment Technique Violation(s)**

**Staff WSC Flatwood area (TX060030)** has violated the treatment technique requirements

set by Texas Commission on Environmental Quality (TCEQ) in Title 30, Texas Administrative

Code (30 TAC), Section 290, Subchapter F. Public water systems are required too properly

disinfect water before distribution, maintain acceptable disinfection residuals within the

distribution system, monitor the disinfectant residual at various locations throughout the

distribution system, and report the results of that monitoring to the TCEQ on a quarterly

basis.

Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches. During **October, November, and December 2021** sufficient levels of chlorine residual ***were not met*** in more than five percent (5%) of monthly samples.

***The following Corrective Actions are being taken to address this issue:***

Improve communication with City of Carbon, assist in monitoring incoming inconsistent disinfectant levels from City of Eastland. Closely monitor disinfection equipment.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (I.e., people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

If you have questions regarding this matter, you may contact **Linda Meroney at 254-647-5133**.

Posted/Delivered on: mailed on 1/8/22 and posted on 1/12/22